## 306
SOR/Estimated Rate | Item No. | Item Description | Qty | Unit
0 | 107 | Providing and Laying & Jointing ECO-drain PVC pipe as per IS-15328 class SN-4 pipes to the specified invert level and slope and full leak proof joining with rubber ring click ring jointing etc., complete with testing. complete with PVC Fittings & RCC support of 450mm x 450mm size as required at every 6mtr distances also including cutting and making good the walls & floors for waste pipes, connections & as directed by the Engineer-in-Charge.(Supreme/ Finolex/ Astral MAKE) 160mm | 514.29 | Rmt.
0 | 108 | Providing and Laying & Jointing ECO-drain PVC pipe as per IS-15328 class SN-4 pipes to the specified invert level and slope and full leak proof joining with rubber ring click ring jointing etc., complete with testing. complete with PVC Fittings & RCC support of 450mm x 450mm size as required at every 6mtr distances also including cutting and making good the walls & floors for waste pipes, connections & as directed by the Engineer-in-Charge.(Supreme/ Finolex/ Astral MAKE) 200mm | 205.71 | Rmt.
0 | 109 | Excavating trenches in soil of required width for pipes etc. including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 2.0 m including getting out the excavated soil, and then refilling the soil as required, in layers not exceeding 20 cm in depth including consolidating each deposited layer by ramming, watering etc. and disposing of surplus excavated soil as directed, within a lead of 1000 mtr : 0 to 1.5mtr depth | 514.29 | Cu.M.
0 | 110 | Providing and spreading graded sand feeling below , around and above PVC pipe for support as per the typical section shown in drawing with a lead of 10 kilometre. Minimum 300mm feeling required all around the pipe. | 514.29 | Cu.M.
0 | 111 | Constructing masonry inspection/manhole Chamber inside with 75 second class designation brick work in cement mortar 1:5 (1 cement :5 fine sand) for drainage, with FRP surface heavy duty chamber cover with RCC top slab 1:2:4 mix (1 cement:2 coarse sand : 4 graded stone aggregate 20mm nominal size) necessary excavation foundation concrete 1:4:8 (1 cement :4 fine sand : 8 graded stone aggregate 40 mm nominal size) and inside and outside plastering with cement mortar 1:3 ( 1 cement :3 coarse sand) 12mm thick finished with a floating coat of neat cement complete including using waterproofing compound as per standard design FRP. foot rests including fixing in 20 x 20 x 10 cm cement concrete blocks 1:3:6 (1 cement :3 coarse sand :6 graded stone aggregate 20 mm nominal size): ( Sewerage drain chamber)(Note: Cost shall include dewatering & water proofing of chambers as directed at site). | 0 | -
0 | a | 600 x 600 mm size 0 to 1.0mtr depth | 13 | Nos.
0 | b | 900 x 800 mm size 1.0 to 1.5mtr depth | 13 | Nos.
0 | c | 1200 x 900mm size 1.5 to 3.0mtr depth | 3 | Nos.
0 | 112 | Providing and fixing square mouth PVC gully trap grade `A’ complete with C.I. grating brick masonry chamber with first class bricks and water tight double seal C.I. cover with frame of 300 x 300 mm internal size. The weight of cover to be not less than 4.5 kg and frame to be not less than 2.70 kg. as per standard design. (Note: Cost shall include dewatering & water proofing of chambers as directed at site). 300 x 300 mm chamber with 160 x 110 mm size `P’ trap. | 108 | Nos.
0 | 113 | Providing and fixing of PVC sewer trap of 200mm sizes, the trap should be installed at the last manhole. Making connection of sewage line from last manhole to septic tank including excavation, dewatering, making RCC or masonry wall pipe holes complete work. | 3 | Nos.
0 | 114 | Providing and fixing to the inlet mouth of rain water pipe FRP medium duty grating 15cm diameter or squar size of cutting holes and making good the walls all complete. | 154.29 | Rmt.
0 | 115 | Providing fixing, testing and commissioning of SWR PVC PIPE TYPE-B(6Kg/cm2.) self fit pipe conforming to IS:13592 including all fittings such as bends, junctions, inspection doors, offsets, cowl, access pieces/plugs etc. jointing with PVC Adhesive joints including cutting holes in RCC or brick walls ,floor and making good the same. (TERRACE RAIN WATER DOWN TAKE ) | 0 | 0
0 | a | 160 mm dia. | 154.29 | Rmt.
0 | b | 110 mm dia. ( Vertical Drops) | 771.43 | Rmt.
0 | c | 75 mm dia. | 257.14 | Rmt.
0 | 116 | Providing and fixing UPVC-SCH-80 pipes with UPVC SCH-80 fittings UV stabilized and UPVC solution adhesive joints, having thermal stability for cold water supply including all UPVC plain joints and brass threaded joints fittings including fixing the pipe clamps at 1.0mtr in necessary with testing of all joints and pipes comp. as per eng. in charge. ( External Vertical Shaft Works + Terrace & Under Ground main line work) ( Astral/ Supreme/Ashirwad Make) | 0 | -
0 | a | 15 mm Dia | 154.28 | Rmt.
0 | b | 20 mm Dia | 257.14 | Rmt.
0 | c | 25 mm Dia | 385.71 | Rmt.
0 | d | 32 mm Dia | 385.71 | Rmt.
0 | e | 40 mm Dia | 771.43 | Rmt.
0 | f | 50 mm Dia | 771.43 | Rmt.
0 | g | 65 mm Dia | 154.29 | Rmt.
0 | h | 80 mm Dia | 103 | Rmt.
0 | I | 100 mm Dia | 103 | Rmt.
0 | 117 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC)SDR-11 pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threated fittings including fixing the pipe with clamps at 1.00m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge. ( Astral/ Ashirwad Make) | 0 | -
0 | a | 15 mm Dia | 387 | Rmt.
0 | b | 20 mm Dia | 514 | Rmt.
0 | c | 25 mm Dia | 386 | Rmt.
0 | d | 32 mm Dia | 386 | Rmt.
0 | e | 40 mm Dia | 386 | Rmt.
0 | 118 | Supply, Installation, Testing and Commissioning of 25 mm dia. air release valve. ( Zoloto/ Audco/ R.B./ Spirex) | 108 | Nos.
0 | 119 | Providing and fixing float valve with pressure type (Copper) float of approved make.( Zoloto/ Audco/ R.B./ Spirex) 25mm dia. | 108 | Nos.
0 | 120 | Supply, installation, testing and commissioning of Domestic Water meters horizontal inerential, single or multi jet, dry dial, suitable for 50 deg. C, duly sealed against tampering, complete with coupling conforming to Class B, IS 779-1994 (latest edition) or ISO 4064, readings in metric system. 40 mm dia. | 124 | Nos.