## 306
SOR/Estimated Rate | Item No. | Item Description | Qty | Unit
0 | 332 | Point wiring for Light / Bell with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multistrand copper wires, in following type of pipe to be erected concealed in/ on surface on wall/ceiling complete with 6A Modular type switch / bell push & accessories and earth continuity of following type, erected on PVC / Metallic box, single mounting base frame covered with textured/metallic front plate modules erected on / in wall / ceiling as per pipe erected, with necessary Lamp holder/ceiling rose / H.D.Connector as directed. | 25 | Nos.
0 | 333 | Point wiring for FAN with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (Green) both are of .ISI marked 1.1 KV Grade FRLS PVC insulated multistrand copper wires, in following type of pipe to be erected concealed in / flushed on wall/ceiling complete with 6A Modular type switch and hum free EME four or more step type electronic fan regulator with separately mounted and accessories with earth continuity of following type erected on PVC / Metallic box, single mounting base frame covered with textured/metallic front plate modules erected on / in wall / ceiling as per pipe erected. with necessary ceiling rose / H.D.Connector as directed.(a) with medium class Rigid PVC pipe and accessories | 3 | Nos.
0 | 334 | Point wiring for Two Way Controlled Light Point with 2-1.5 sq.mm & earth wire of 1.5 sq.mm (green) both are of .ISI marked 1.1 KV grade FRLS PVC insulated multi strand copper wires erected in below type of pipe with 6A Modular type switches and following type of accessories erected on PVC / Metallic/Wooden box, single mounting base frame covered with textured / metallic/white front plate modules erected on / in wall / ceiling as per pipe erected. with necessary batten/angle holder or ceiling rose or H.D.Connector as directed. (a) with medium class Rigid PVC pipe and accessories erected flushed on wall/ceiling complete | 15 | Nos.
0 | 335 | Point wiring for Individual Plug with & earth wire of 1.5 sq.mm (Green) both are of ISI marked 1.1 KV grade FRLS PVC insulated multistrand copper wires, in following type of to be erected concealed in / on surface of wall / ceiling complete with Modular type switch & 5 pin Plug erected on PVC / Metallic box covered with appropriate front plate modules erected on / in wall / ceiling as per pipe erected with following type of accessories.[II] For 16A Plug with 2-1.5 sq.mm Cu. Wire (a) with medium class Rigid PVC pipe and accessories Cat III | 2 | Nos.
0 | 336 | Mains with 1.1 KV grade FRLS PVC insulated ISI marked stranded Copper conductor wire in following type of pipe to be erected concealed in /flushed on wall/ceiling, with 1.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size (a) with medium class Rigid PVC pipe and accessories (b) 2 wire 1.5 sq. mm | 1269 | Mtrs
0 | 337 | Mains with 1.1 KV grade FRLS PVC insulated ISI marked stranded Copper conductor wire in following type of pipe to be erected concealed in /flushed on wall/ceiling, with 1.5 sq. mm copper conductor FRLS PVC insulated stranded wire of green colour for earth continuity of following size (a) with medium class Rigid PVC pipe and accessories (b) 2 wire 2.5 sq. mm | 949 | Mtrs.
0 | 338 | Providing and erecting ISI mark Medium class RIGID PVC PIPES of following size complete to be erected on/in wall or ceiling erected with necessary PVC fittings & Junction boxes fixed with adhesive solution & Clamps with following Dia of pipes, in approved manner as directed (a)20 mm | 1269 | Rmt.
0 | 339 | Providing & erecting Switch board for Computer or electric apparatus consisting of following modular type accessories mounted with PVC / Metallic concealed/open box with single mounting base frame covered with textured/metallic /white front plate, modules erected with necessary connections as directed 1 no. 6A/16A universal plug-switch combined. 3 nos. 6A Switch 3 nos. 6A 5 pin Plug For Modular Type Accessories | 3 | Nos.
0 | 340 | Providing following type of Modular Type Accessories mounted with PVC / metallic box, single mounting base frame covered with textured / metallic front plate , modules erected with necessary connection. As desired by Engineer In charge (4) TV Co-axial Socket outlet | 9 | Nos.
0 | 341 | Providing following type of Modular Type Accessories mounted with PVC / metallic box, single mounting base frame covered with textured / metallic front plate , modules erected with necessary connection. As desired by Engineer In charge (3) Two Pin/RJ-11 Telephone Socket One Gang | 6 | Nos.
0 | 342 | Providing and erecting Sheet Steel powder coated MCB distribution board - flush / surface mounted fitted with busbar, neutral link, earth bar and DIN rail, confirming to IS 13032 and BS 5486-1986 without MCB to house appropriate nos. of MCBs.(The DBs should be used of same company of MCB to be used) (A) single phase incoming and horizontal single phase outgoing (b) sheet steel double door (IP-43) (iv)12 way | 3 | Nos.
0 | 343 | Approved make ELCBs / RCCBs conforming to IS: 12640 and having sensitivity of 30 mA and Short Circuit withstand capacity of 6 KA and suitable for operation on single phase 240 V. having characteristic of quick action & tripping with all advance feature & do not incorporate any electronic component. for following Max. rating erected as directed (ii) 40Amps. DP | 3 | Nos.
0 | 344 | providing and erecting Miniature circuit breaker single pole 6A to 25A suitable to operate on 240 V A.C. system and having breaking capacity 10 KA to be erected in existing box. confirming to IS 8828/1996 with ISI Mark | 3 | Nos.
0 | 345 | Supplying & erecting fan hook box of 10 mm M.S. round bar bounded to the RCC bars up to 50mm length each side and pierced through a 16 Gauge M.S. box / Heavy Duty PVC box complete erected concealed in Ceiling with necessary finishing. | 3 | Nos.
0 | 346 | Providing 2.5mm.thick laminated acrylic sheet to cover the fan hook or Fan box. | 3 | Nos.
0 | 347 | Providing following type of Modular Type Accessories mounted with PVC / metallic/Wooden box, single mounting base frame covered with textured / metallic/white front plate , modules erected with necessary connections as per site situation directed by Engineer In charge. (8) Computer RJ-45 socket | 3 | Nos.
0 | 348 | Supplying and erecting LED indoor fittings with LEDs of wattage 0.2 Watt to 0.5 Watt assembled on single MCPCB, with housing used as a heat sink shall be made of thick sheet Steel conforming to IS:513/CRCA/ aluminium pressure die cast powder coated and high U.V. & corrosion resistance with diffuser housed in aluminium casted body with company mark/name 120 to 300 V,Power Factor more than 0.9, THD < 10 Percent, CCT 3000 K to 6500K, Luminaire efficacy> 85 lumens/watt ,LED efficiency 110 lumens/watt. LED driver efficiency > 85 Percent CREE / OSRAM / PHILIPS Lumileds / NICHIA / SEOUL/Bridgelux make LED used for luminaire. ( fitting required LM-79 & LM-80 Certificates)(NOTE: Below description have shown ranges of Wattage capacity of LED fittings.The Engineer incharge may select any wattage capacity between the ranges shown.) (D) LED Panel Light with provision for Plane front frame with translucent cover fixed to housing complete.IP20 (f) 36 watts, 24" x 24" mm, Surge- 2KV | 75 | Nos.
0 | 349 | Excavation for roadways in Soil of all sorts up to required depth including dressing section to the required grade and camber and side slopes in soil, soft murrum, hard murrum, BT surface, otta, dismantled structures including scaffolding if required shoring, strutting and conveying the excavated materials within the lead of 200m, spreading, watering, ramming including supporting the utility services such as pipe lines, cables etc. using bamboos, wire ropes, installing red lamps and barricading around the excavated pits for safety etc. complete. | 0 | 0
0 | a | Upton 1.0m depth | 3717 | Cu.M.
0 | b | 1.00 to 2.00 m Depth | 9912.01 | Cu.M.
0 | c | 2.00 to 3.00 m Depth | 1239 | Cu.M.
0 | 350 | Providing Cement Concrete Pipes of IS NP-3 Class of below diameter in proper line, level & Slope including providing, fixing collars in position in cement mortar 1:2 curing etc. complete. Laying in position RCC Hume pipe of IS NP-3 Class in proper line, level & Slope including providing, fixing rubber ring joint finishing with in cement mortar 1:2 curing & testing etc. Complete. Laying of pipes shall be carried out as per relevant IS, including all leads and lifts etc. Complete as directed by Engineer. | 0 | 0
0 | a | 150 mm Dia. ( NP-2) | 1859 | Rmt
0 | b | 250 mm Dia. ( NP-2) | 3098.07 | Rmt
0 | c | 300 mm Dia. ( NP-2) | 1239 | Rmt
0 | d | 450 mm Dia. ( NP-3) | 372 | Rmt
0 | e | 600 mm Dia. ( NP-3) | 372 | Rmt
0 | f | 900 mm Dia. ( NP-3) | 203.76 | Rmt
0 | 351 | Constructing Brick masonry inspection Manhole chamber 23 cm thick in 1:6 cement mortar or using concrete block, plastering internally and externally in 1:3 cement mortar (no external plastering is required for concrete block), render cement finish, coping 75 mm thick 1:2:4 CC, constructing catch pit, 1:3:6 CC in bed concrete, rubble soling 230mm thk, preparing of channel with pipe, connecting out-going and incoming pipe lines, etc. complete. | 0 | 0
0 | a | a) 75cm x 75cmx 1.00 | 92.92 | Nos.
0 | b | b) 90cm x 80cmx 1.50m | 92.92 | Nos.
0 | c | c) 120cm x 90cmx 2.50m | 30.97 | Nos.
0 | 351 B | Providing precast cement concrete covers with frame over chamber of approved drawing and design. | 0 | 0
0 | a | a) 600 x 600 mm 250 Kg HD | 186 | No.s
0 | b | a) 600 x 900 mm 250 Kg HD | 30.97 | No.s
0 | 352 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) S.W. pipes including bed concrete as per standard design : | 0 | 0
0 | a | All Type of Pipe Size (15cm. Thick) | 1239 | Cu.M.
0 | 353 | Constructing Brick masonry Septic Tank As per the Structure Details Design, ( 5 x 2.50 x 1.50mtr Liq. Depth.) | 5 | No.s
0 | 354 | Constructing Brick masonry Septic Tank As per the Structure Details Design ( 4 x 2.0 x 1.50mtr Liq. Depth.) | 2 | No.s
0 | 355 | Constructing Brick masonry Soak Well As per the Structure Details Design, ( 3.0mtr. Dia x 9.0 mtr Liq. Depth.) | 7 | No.s
0