## 306
SOR/Estimated Rate | Item No. | Item Description | Qty | Unit
0 | 356 | Providing and erecting RCC elevated reservoir of 3.0 lac capacity compling provisions of Relevant Indian standards. All types of labour and material charges of lowering, laying, erecting, hosting and joining of pipes assembly of inlet, outlet, overflow, washout and bypass arrangement as per design and drawing. Providing and fixing any accessories CI man hole cover and frame, water table indicator, lighting conductor. GI pipe railing around walking at roof level, RCC spiral staircase with adequate tie beams, staircase footing, RCC chambers for valves, ventilation shaft etc. Minimum concrete grade M:300 Steel TMT (FE500) Or higher grade reinforcing bars confirming to IS 1786/1139 Or CRS/TMT bars shall be used as per specification. LSL 17.0 MT from GL in Seismic zone-4 ESRS shell type as per design Specification as per section 1C-RCC ESR, GSR, SUMP, HGLR | 300000 | Litres
0 | 357 | Excavation for foundation up to 1.50 mt depth including sorting out and stacking of useful materials and disposing the excavated stuff up to 50 mt lead (A) Loose or soft soil (EXECUTED WITH MECHANISED EFFORTS MACHINARIES) | 90.93 | Cu.M.
0 | 358 | Excavation for foundation 1.50 mt to 3.00 mt depth including sorting out and stacking of useful materials and disposing the excavated stuff up to 50 mt lead (A) Loose or soft soil (EXECUTED WITH MECHANISED EFFORTS MACHINARIES) | 418.36 | Cu.M.
0 | 359 | Excavation for foundation 3 mt to 5mt depth including sorting out and stacking of useful materials and disposing the excavated stuff up to 50 mt lead (A) Loose or soft soil (EXECUTED WITH MECHANISED EFFORTS MACHINARIES) | 418.36 | Cu.M.
0 | 360 | Excavation for foundation 3 mt to 5mt depth including sorting out and stacking of useful materials and disposing the excavated stuff up to 50 mt lead (A) Loose or soft soil (EXECUTED WITH MECHANISED EFFORTS MACHINARIES) | 90.93 | Cu.M.
0 | 361 | Earthwork for embankment including breaking clods, dressing with all lead and lift and including watering rolling and consolidation of subgrade in layers at O.M.C to required dry density including feeling the depression which occur during the process using power roller 8T to 10T(E) from borrow area within all lead (more than 10 ton | 2105.67 | Cu.M.
0 | 362 | Filling in foundation and plinth with sand in layers of 20 cm. Thickness including watering ramming and consolidating etc. complete. | 505.29 | Cu.M.
0 | 363 | Carrying out plinth treatment to post construction / existing structure by spraying chemical solution for termite control treatment including labour and material consistent with I.S.I specification. Using Chlordane and Chiorpurfiles 20 EC. As Per 6131_paret-II Concentration Weight one percent is recommended i.e. one litre 20 EC chemical emulsion with 19 litre give 1 Percent concentration inclusive of one litre chemical emulsion application at the rate of 5 Litre chemical / Sqm of surface is recommended as per I.S | 1684.53 | Sq.M.
0 | 364 | Providing and laying controlled cement concrete M-100 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish and reinforcement for reinforced concrete work in (a) Foundations, footings Bases of columns and the like and Mass concrete. | 32.53 | Cu.M.
0 | 365 | Providing and laying controlled cement concrete M-250 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in foundation footings, base of columns and mass concrete. | 6.59 | Cu.M.
0 | 366 | Providing and laying controlled cement concrete M-250 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in foundation footings, base of columns and mass concrete. | 7.7 | Cu.M.
0 | 367 | Providing and laying controlled cement concrete M-250 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in foundation footings, base of columns and mass concrete. (PEDESTAL) | 3.01 | Cu.M.
0 | 368 | Providing and laying controlled cement concrete M-250 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in Columns, pillars posts and struts G.FLOOR | 3.4 | cum
0 | 369 | Providing and laying controlled cement concrete M-200 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in BEAMS Ground Floor | 10.47 | cum
0 | 370 | Providing and laying controlled cement concrete M-200 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in BEAMS Ground Floor | 11.82 | Cu.M.
0 | 371 | Providing and laying controlled cement concrete M-200 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in SLABS for Ground Floor | 46.9 | Cu.M.
0 | 372 | Providing and laying controlled cement concrete M-250 RMC and curing complete including the cost of formwork with sheathing steel sheets so as to give a fair finish but excluding the cost of reinforcement for reinforced concrete work in RCC Wall | 78.24 | Cu.M.
0 | 373 | Providing Thermo Mechanically Treated bar (T.M.T.) (I.S.I. Mark) conforming to I.S. - 1786 Fe - 500D for R.C.C. work including bending, binding and placing in position complete. All floor Level | 15341.64 | Kg.
0 | 374 | Providing 20 mm thick double coat mala cement plaster on interior brick / concrete work for plastering comprising of base coat of 12 mm thick cement plaster in cement mortar (1 Cement : 4 coarse sand) in rough finishing and 8 mm thick top coat of cement mortar 1:2 (1 Cement : 2 Coarse sand) finished with trowel including scaffolding curing etc. complete. GROUND FLOOR | 1196.66 | Sq.M.
0 | 375 | Providing cement vata (10cm. x 10 cm. size) quarter round in cement mortar 1:1 including neat cement finishing, watering etc. complete. | 87.17 | Rmt.
0 | 376 | Excavation for roadways in Soil of all sorts up to required depth including dressing section to the required grade and camber and side slopes in soil, soft murrum, hard murrum, BT surface, otta, dismantled structures including scaffolding if required shoring, strutting and conveying the excavated materials within the lead of 200m, spreading, watering, ramming including supporting the utility services such as pipe lines, cables etc. using bamboos, wire ropes, installing red lamps and barricading around the excavated pits for safety etc. complete. | 0 | 0
0 | a | Up to 1m Depth | 69.37 | Cu.M.
0 | b | 1.00 to 2.00 m Depth | 69.38 | Cu.M.
0 | 377 | Excavation for foundation pipe trenches in Soft or Hard Earth/ Rock including scaffolding if required shoring, strutting and conveying the excavated materials within the lead of 200m, spreading, watering, ramming including supporting the utility services such as pipe lines, cables etc. using bamboos, wire ropes, installing red lamps and barricading around the excavated pits for safety etc. complete. Up to 1.00m depth | 29.73 | Cu.M.
0 | 378 | Boring/drilling bore well of required Dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipment, tools, plants & machineries required for the job, all complete as per direction of Engineer -in-charge,up to 90 metre depth below ground level. of 300mm Dia | 598.72 | Rmt
0 | 379 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well casing (CM) pipe of required Dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in charge. 200 mm Dia pipe | 598.72 | Rmt
0 | 380 | Brick Masonry in Cement/Fly Ash Brick & 1:5 cement mortar including 50percent crush sand & 50Percent river sand with joint filling & curing for 7 days etc. (0.230 m thk. Or above thick.) | 120.94 | Cu.M.
0 | 381 | 15 to 25 mm Thick Plastering for brick masonry in 1:3 cement mortar including smooth Niru finish, cement finishing, groove cut in joints & curing for 7 days etc. 15 to 25 mm thk. Internal Plaster | 446.04 | Sq.M.
0 | 382 | Supplying and laying of approved 40 mm (Down Size & Over Size) metal as per engineer in charge on site. | 138.76 | Cu.M.
0 | 383 | Supplying, filling, spreading & levelling stone boulders of size range 5 cm to 20 cm, in recharge pit, in the required thickness, for all leads & lifts, all complete as per direction of Engineer-in-charge | 89.2 | Cu.M.
0 | 384 | Supplying, filling, spreading & levelling gravels of size range 5 mm to 10 mm, in the recharge pit, over the existing layer of boulders, in required thickness, for all leads & lifts, all complete as per direction of Engineer-in charge. | 89.2 | Cu.M.
0 | 385 | Supplying, filling, spreading & levelling coarse sand of size range 1.5 mm to 2 mm in recharge pit, in required thickness over gravel layer, for all leads & lifts, all complete as per direction of Engineer -in-charge | 71.38 | Cu.M.
0 | 386 | Gravel packing in tubewell construction in accordance with IS: 4097,including providing gravel fine/ medium/ coarse, in required grading &sizes as per actual requirement, all complete as per direction of Engineering-in charge. | 48.88 | Cu.M.
0 | 387 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: | 9 | Nos.
0 | 388 | Providing and fixing Bail plug/ Bottom plug of required Dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). | 9 | Nos.
0 | 389 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm Dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm Dia perforations @ 100 to | 9 | Nos.
0